Table 10.2. List of equipment for study program performing

| No. | Equipment | Type | Purpose | No. |
| --- | --- | --- | --- | --- |
|  | Micromanometer |  | Measuring depression airflow | 1 |
|  | Auto tacheometer | Zeiss BRT006 | Optical distance meter | 1 |
|  | Auto tacheometer | Zeiss Dahlta 010 | Optical distance meter | 1 |
|  | Barograph; Hygro thermograph |  | Realization of airflow | 1+1 |
|  | Binocular microscopes; illuminators; collection of standards minerals and raw materials from domestic and foreign deposits | Reichert-Jung | Identification of minerals | 6 |
|  | Fans | Axial and centrifugal | Airflow | 3 |
|  | Gas chromatograph | Varian 3700 | Analysis of gases | 1 |
|  | Defectoscopy testing wire ropes | AA SERVIS KOŠICE | Testing of steel ropes | 1 |
|  | Test gas line (compressor, pressure regulator, flow regulator, flow meter, gas tank, safety valves) |  | Practical exercises | 1 |
|  | Chemical equipment, apparatus and chemicals |  | Practical exercises |  |
|  | Vacuum pump | Denver | Filtration | 1 |
|  | Mixer | Denver | Mixing | 1 |
|  | Mixer | laboratory | Mixing | 1 |
|  | Sieve | Tyler - series | Sieving samples | 1 |
|  | Sieve | DIN - series | Sieving samples | 1 |
|  | Sieve | JUS - series | Sieving samples | 1 |
|  | Sieve | Civil engineering | Sieving samples | 1 |
|  | Sieve | Vibro frame | Sieving samples | 2 |
|  | Dryer | laboratory | For dry samples | 2 |
|  | Device for distilling water | Sutjeska | Distillation of water | 2 |
|  | Hydrociklon |  | For separation | 3 |
|  | Hydrociklon with pump |  | For separation | 2 |
|  | Cyclone | Heller | For separation | 1 |
|  | Spectroscope | Kruss | Emission spectroscopic analysis | 1 |
|  | Geiger-Miller counter | El-Tronics, Model LS 1000 AD, Philadelphia | Detection of radiation | 1 |
|  | Calorimeter |  | Calorimetric measurements of heat effects | 1 |
|  | Viscometer | Brookfield; Model RVDVE | Determination of viscosity | 2 |
|  | pH-mether | Radiometer PHM62; Iskra M5735; InoLab pH level 1; EUTECH pH Tester 2 | Determining the pH of the solution | 4 |
|  | Libra | Tehtnica Zelezniki | weighing | 3 |
|  | Magnetic mixer | MM-510, Tehtnica Zelezniki | Mixing | 3 |
|  | Thermometers | „Učila“ Zagreb | Temperature measurement | 5 |
|  | Thermostat | Type NBE, Germany | Maintaining a constant temperature of the test system | 1 |
|  | Photo theodolite | Zeiss | Practical exercises | 1 |
|  | Analytical scale |  | Practical exercises | 1 |
|  | ESRI ARcGIS Desctop 10.1 | software | Practical exercises on computer | 30 |
|  | Dual digital tachometar | Voltcraft DT2L/K, Teiwan | Engine RPM | 1 |
|  | Laser temperature gauge | Gemany | Temperature measurement | 1 |
|  | AERMOD View | Lakes Environmental AER0005881 | Software for air dispersion modeling | 1 |
|  | BREEZE AERMOD | Trinity Consultants Reg. number 54558717D76030X34564089 | Software for air dispersion modeling | 1 |
|  | SLAB View | Lakes Environmental SLB0001901 | Software for air dispersion modeling | 1 |
|  | Noise Map | NoiseMap Ltd Ser. number 2253 | Software for noise mapping | 1 |
|  | SoundPlan | Braunstein + Berndt GmbH Ser. number 5217 | Software for noise mapping | 1 |
|  | meteorological station | By fabricate specification | Measurement of meteorological parameters | 1+1 |
|  | Noisemeter | Bruel&Kjaer; Larson Davis | Environmental noise measurement | 3 |
|  | Vibrometer | Bruel&Kjaer | Vibrations measurement | 1 |
|  | Portable gas analyzers | GfG, Oldham, Sieger | Measurement of gas concentration | 4 |
|  | Equipment for the measurement of dust | AERA, Casella, Bendix | Gravimetric measurement of dust | 11 |
|  | Light meter | Iskra | Measuring the intensity of illumination | 1 |
|  | Desktop computer |  |  | 28 |
|  | Server |  |  | 3 |
|  | Climate |  | Cooling server room | 2 |
|  | Climate |  |  | 2 |
|  | interactive table |  |  | 1 |
|  | Chair |  |  | 10 |
|  | projection screen |  |  | 1 |
|  | tables |  |  | 7 |
|  | Printers |  |  |  |
|  | Projector |  |  | 8 |
|  | Laptop |  |  | 12 |